## power_balance
| Hours | elec. price | PV | load | net load | BESS discharge | BESS charge | import elec. | net PV
1 | 0:00 | 352.2 | 0 | 15.4286 | 2.5536 | 2.221e-09 | -1.6736 | 4.2272 | -15.4286
2 | 1:00 | 352.2 | 0 | 17.4343 | 3.0593 | 4.8377e-09 | -1.6805 | 4.7398 | -17.4343
3 | 2:00 | 352.2 | 0 | 18.1008 | 4.7258 | 3.0883e-08 | -1.6385 | 6.3643 | -18.1008
4 | 3:00 | 352.2 | 0 | 14.2617 | -1.8633 | 0 | -0.58093 | -1.2823 | -14.2617
5 | 4:00 | 352.2 | 0 | 16.9159 | 1.9159 | 6.8931e-08 | -0.16839 | 2.0843 | -16.9159
6 | 5:00 | 352.2 | 0 | 19.5291 | 4.5291 | 5.4073e-08 | -0.16962 | 4.6988 | -19.5291
7 | 6:00 | 352.2 | 0 | 20.9334 | 5.5584 | 5.7169e-08 | -0.10413 | 5.6625 | -20.9334
8 | 7:00 | 352.2 | 0 | 18.9825 | 3.9825 | 1.0696e-07 | -0.26875 | 4.2513 | -18.9825
9 | 8:00 | 655.5 | 1.2246 | 17.6993 | 1.6993 | 6.0837e-08 | -2.1643e-07 | 0.47472 | -16.4747
10 | 9:00 | 655.5 | 2.8434 | 16.917 | 1.042 | 0 | -1.9978e-07 | -1.8014 | -14.0736
11 | 10:00 | 655.5 | 3.8944 | 15.7449 | -0.005051 | 0 | -1.1604e-07 | -3.8994 | -11.8506
12 | 11:00 | 655.5 | 3.6358 | 13.8025 | -1.0725 | 0 | -3.9596e-07 | -4.7083 | -10.1667
13 | 12:00 | 655.5 | 2.6812 | 8.2426 | -8.3824 | 0 | -6.7593e-07 | -11.0636 | -5.5614
14 | 13:00 | 655.5 | 2.0813 | 14.1854 | -1.4396 | 0 | -1.5913e-06 | -3.5209 | -12.1041
15 | 14:00 | 1049.9 | 2.2579 | 13.7757 | -2.2243 | 0 | -4.2623e-10 | -4.4822 | -11.5178
16 | 15:00 | 1049.9 | 2.1976 | 14.8434 | -4.0316 | 0 | -1.6892e-09 | -6.2292 | -12.6458
17 | 16:00 | 1049.9 | 1.258 | 16.4385 | 2.9385 | 1.6805 | -8.4779e-09 | 8.7778e-09 | -15.1805
18 | 17:00 | 655.5 | 0 | 19.0171 | 5.0171 | 1.1922e-09 | -1.3164 | 6.3335 | -19.0171
19 | 18:00 | 655.5 | 0 | 13.9288 | -1.4462 | 0 | -0.54561 | -0.90056 | -13.9288
20 | 19:00 | 1049.9 | 0 | 19.5367 | 4.4117 | 1.6805 | -4.5443e-10 | 2.7312 | -19.5367
21 | 20:00 | 1049.9 | 0 | 19.2664 | 3.2664 | 1.6805 | -7.6239e-09 | 1.5859 | -19.2664
22 | 21:00 | 1049.9 | 0 | 18.6372 | 2.1372 | 1.6805 | -1.7444e-08 | 0.45668 | -18.6372
23 | 22:00 | 655.5 | 0 | 17.4723 | 3.2223 | 2.6459e-08 | -6.4603e-08 | 3.2223 | -17.4723
24 | 23:00 | 655.5 | 0 | 18.582 | 3.832 | 2.1031e-07 | -3.3455e-08 | 3.832 | -18.582
NOTES
The term net load refers to the system demand minus the local generation from variable resources.

## PVB_flow
Hours | PV→load | PV→BESS | PV→grid | SOC
0:00 | 0.014303 | 0.014303 | 0.014303 | 0.1
0:30 | 0.013992 | 0.013992 | 0.013992 | 0.21995
1:00 | 0.01508 | 0.01508 | 0.01508 | 0.31668
1:30 | 0.016013 | 0.016013 | 0.016013 | 0.39962
2:00 | 0.013526 | 0.013526 | 0.013526 | 0.47014
2:30 | 0.010572 | 0.010572 | 0.010572 | 0.51783
3:00 | 0.0068405 | 0.0068405 | 0.0068405 | 0.56312
3:30 | 0.004664 | 0.004664 | 0.004664 | 0.60753
4:00 | 0.004664 | 0.004664 | 0.004664 | 0.66204
4:30 | 0.0052859 | 0.0052859 | 0.0052859 | 0.71835
5:00 | 0.020833 | 0.020833 | 0.020833 | 0.79518
5:30 | 0.1208 | 0.1208 | 0.1208 | 0.9
6:00 | 0.34576 | 0.34576 | 0.34576 | 0.7842
6:30 | 0.61922 | 0.61922 | 0.61922 | 0.70454
7:00 | 0.94493 | 0.94493 | 0.94493 | 0.63676
7:30 | 1.3191 | 1.3191 | 1.3191 | 0.5769
8:00 | 1.6783 | 1.6783 | 1.6783 | 0.50394
8:30 | 2.0473 | 2.0473 | 2.0473 | 0.43429
9:00 | 2.3828 | 2.3828 | 2.3828 | 0.37041
9:30 | 2.728 | 2.728 | 2.728 | 0.29719
10:00 | 3.0394 | 3.0394 | 3.0394 | 0.21892
10:30 | 3.2845 | 3.2845 | 3.2845 | 0.18455
11:00 | 3.493 | 3.493 | 3.493 | 0.18375
11:30 | 3.1199 | 3.1199 | 3.1199 | 0.10725
12:00 | 3.4479 | 3.4479 | 3.4479 | 0.10001
12:30 | 3.4624 | 3.4624 | 3.4624 | 0.19965
13:00 | 3.4852 | 3.4852 | 3.4852 | 0.31788
13:30 | 3.3126 | 3.3126 | 3.3126 | 0.46096
14:00 | 3.3108 | 3.3108 | 3.3108 | 0.58557
14:30 | 3.1221 | 3.1221 | 3.1221 | 0.72088
15:00 | 3.1209 | 3.1209 | 3.1209 | 0.8198
15:30 | 2.9976 | 2.9976 | 2.9976 | 0.88528
16:00 | 2.8887 | 2.8887 | 2.8887 | 0.9
16:30 | 2.6933 | 2.6933 | 2.6933 | 0.89302
17:00 | 2.3718 | 2.3718 | 2.3718 | 0.84703
17:30 | 2.1408 | 2.1408 | 2.1408 | 0.79925
18:00 | 1.27 | 1.27 | 1.27 | 0.56616
18:30 | 0.58673 | 0.58673 | 0.58673 | 0.33308
19:00 | 0.44044 | 0.44044 | 0.44044 | 0.1
19:30 | 0.26258 | 0.26258 | 0.26258 | 0.10007
20:00 | 0.13697 | 0.13697 | 0.13697 | 0.10009
20:30 | 0.04835 | 0.04835 | 0.04835 | 0.10009
21:00 | 0.015702 | 0.015702 | 0.015702 | 0.10009
21:30 | 0.012904 | 0.012904 | 0.012904 | 0.10007
22:00 | 0.0097944 | 0.0097944 | 0.0097944 | 0.1
22:30 | 0.012748 | 0.012748 | 0.012748 | 0.10009
23:00 | 0.013992 | 0.013992 | 0.013992 | 0.10009
23:30 | 0.013681 | 0.013681 | 0.013681 | 0.1

## total_income
Gasboiler BESS price pv = 4 | Scenario 1 | Scenario 2 | Scenario 3
70 | 311.9893 | 15.6984 | 352.029
90 | 302.3181 | 12.3992 | 344.2998
110 | 292.6541 | 9.1078 | 336.5861
130 | 283.0429 | 5.8415 | 329.0411
150 | 273.6574 | 3.035 | 323.7701
170 | 264.6645 | 2.7528 | 320.9663
190 | 259.9571 | 2.7528 | 318.1643
210 | 255.6992 | 2.7528 | 315.3872
230 | 251.9607 | 2.7527 | 312.6844
250 | 248.5413 | 2.7528 | 310.0526
270 | 246.3744 | 2.7528 | 307.7294
290 | 246.2087 | 2.7528 | 307.1656
310 | 246.2087 | 2.7528 | 307.1657

## IRR
Gasboiler BESS price pv = 4 | Scenario 1 | Scenario 2 | Scenario 3
70 | #REF! | #REF! | #REF!
90 | #REF! | #REF! | #REF!
110 | #REF! | #REF! | #REF!
130 | #REF! | #REF! | #REF!
150 | #REF! | #REF! | #REF!
170 | #REF! | #REF! | #REF!
190 | #REF! | #REF! | #REF!
210 | #REF! | #REF! | #REF!
230 | #REF! | #REF! | #REF!
250 | #REF! | #REF! | #REF!
270 | #REF! | #REF! | #REF!
290 | #REF! | #REF! | #REF!
310 | #REF! | #REF! | #REF!

## BEScap
Gasboiler BESS price pv = 4 | Scenario 1 | Scenario 2 | Scenario 3
70 | #REF! | #REF! | #REF!
90 | #REF! | #REF! | #REF!
110 | #REF! | #REF! | #REF!
130 | #REF! | #REF! | #REF!
150 | #REF! | #REF! | #REF!
170 | #REF! | #REF! | #REF!
190 | #REF! | #REF! | #REF!
210 | #REF! | #REF! | #REF!
230 | #REF! | #REF! | #REF!
250 | #REF! | #REF! | #REF!
270 | #REF! | #REF! | #REF!
290 | #REF! | #REF! | #REF!
310 | #REF! | #REF! | #REF!

## SCR
Gasboiler BESS price pv = 4 | Scenario 1 | Scenario 2 | Scenario 3
70 | #REF! | #REF! | #REF!
90 | #REF! | #REF! | #REF!
110 | #REF! | #REF! | #REF!
130 | #REF! | #REF! | #REF!
150 | #REF! | #REF! | #REF!
170 | #REF! | #REF! | #REF!
190 | #REF! | #REF! | #REF!
210 | #REF! | #REF! | #REF!
230 | #REF! | #REF! | #REF!
250 | #REF! | #REF! | #REF!
270 | #REF! | #REF! | #REF!
290 | #REF! | #REF! | #REF!
310 | #REF! | #REF! | #REF!

## netload_PVB
| 0:00 | 0:30 | 1:00 | 1:30 | 2:00 | 2:30 | 3:00 | 3:30 | 4:00 | 4:30 | 5:00 | 5:30 | 6:00 | 6:30 | 7:00 | 7:30 | 8:00 | 8:30 | 9:00 | 9:30 | 10:00 | 10:30 | 11:00 | 11:30 | 12:00 | 12:30 | 13:00 | 13:30 | 14:00 | 14:30 | 15:00 | 15:30 | 16:00 | 16:30 | 17:00 | 17:30 | 18:00 | 18:30 | 19:00 | 19:30 | 20:00 | 20:30 | 21:00 | 21:30 | 22:00 | 22:30 | 23:00 | 23:30
Gas boiler | 1.2099 | 1.1973 | 1.2061 | 1.202 | 1.2214 | 1.2393 | 1.2234 | 1.2599 | 1.2099 | 1.1796 | 1.3298 | 1.4715 | 1.6982 | 1.7782 | 2.0831 | 2.1976 | 2.405 | 2.4863 | 2.5474 | 2.586 | 2.6863 | 2.6645 | 2.6856 | 2.7 | 2.7078 | 2.6938 | 2.717 | 2.7011 | 2.6966 | 2.622 | 2.5607 | 2.4963 | 2.3167 | 2.1901 | 2.1123 | 1.8992 | 1.7123 | 1.6227 | 1.5905 | 1.5271 | 1.4256 | 1.3338 | 1.3216 | 1.2872 | 1.2634 | 1.2249 | 1.1996 | 1.1723
Load | 1.2083 | 1.1957 | 1.2045 | 1.2004 | 1.2198 | 1.2378 | 1.2218 | 1.2582 | 1.2083 | 1.1781 | 1.3278 | 1.469 | 1.695 | 1.7746 | 2.0779 | 2.1919 | 2.3982 | 2.479 | 2.5398 | 2.5781 | 2.6778 | 2.6561 | 2.677 | 2.6917 | 2.6991 | 2.6853 | 2.7083 | 2.6925 | 2.6966 | 2.6138 | 2.5607 | 2.4963 | 2.3167 | 2.1901 | 2.1069 | 1.8949 | 1.7088 | 1.6196 | 1.5876 | 1.5244 | 1.4234 | 1.3319 | 1.3197 | 1.2853 | 1.2616 | 1.2232 | 1.198 | 1.1708
CHP+gas boiler | 0.64308 | 0.60124 | 0.60038 | 0.62485 | 0.63672 | 0.65247 | 0.62934 | 0.7024 | 0.6001 | 0.31204 | -0.27636 | -0.016859 | -0.1909 | -1.0073 | -1.255 | -0.69477 | -0.2489 | -0.02243 | 0.20044 | 0.2262 | 0.3394 | 0.6427 | 1.0405 | 0.79109 | 1.2618 | 0.8098 | 0.85367 | 1.3362 | 1.1779 | 0.88908 | 1.1294 | 1.2677 | 1.2331 | 1.2242 | 1.2159 | 1.0411 | 0.8 | 0.73365 | 0.60701 | 0.61733 | 0.57534 | 0.45467 | 0.6061 | 0.59141 | 0.59351 | 0.5208 | 0.60409 | 0.53857
heat pump + gas boiler | 1.5037 | 1.5038 | 1.5029 | 1.5054 | 1.5505 | 1.5653 | 1.5513 | 1.5797 | 1.5576 | 1.5912 | 1.9723 | 2.0341 | 2.4565 | 2.932 | 3.4117 | 3.3777 | 3.4945 | 3.5343 | 3.5427 | 3.5775 | 3.6714 | 3.5137 | 3.4992 | 3.4909 | 3.4883 | 3.4624 | 3.4852 | 3.3126 | 3.3108 | 3.1221 | 3.1209 | 2.9976 | 2.8887 | 2.7207 | 2.5526 | 2.3286 | 2.2012 | 2.1159 | 2.0833 | 1.9822 | 1.924 | 1.6905 | 1.7504 | 1.7 | 1.6642 | 1.6188 | 1.5161 | 1.4956
PV | 0.014303 | 0.013992 | 0.01508 | 0.016013 | 0.013526 | 0.010572 | 0.0068405 | 0.004664 | 0.004664 | 0.0052859 | 0.020833 | 0.1208 | 0.34576 | 0.61922 | 0.94493 | 1.3191 | 1.6783 | 2.0473 | 2.3828 | 2.728 | 3.0394 | 3.2845 | 3.493 | 3.1199 | 3.4479 | 3.8963 | 4 | 3.9356 | 3.8534 | 3.7113 | 3.5516 | 3.2827 | 2.9528 | 2.6933 | 2.3718 | 2.1408 | 1.27 | 0.58673 | 0.44044 | 0.26258 | 0.13697 | 0.04835 | 0.015702 | 0.012904 | 0.0097944 | 0.012748 | 0.013992 | 0.013681
import electric power before BESS
heat pump net load before BESS | 1.4894 | 1.4898 | 1.4879 | 1.4894 | 1.537 | 1.5547 | 1.5445 | 1.575 | 1.5529 | 1.5859 | 1.9514 | 1.9133 | 2.1107 | 2.3127 | 2.4667 | 2.0586 | 1.8162 | 1.487 | 1.1599 | 0.84957 | 0.63204 | 0.22917 | 0.0062122 | 0.37096 | 0.040408 | -0.43389 | -0.5148 | -0.62304 | -0.5426 | -0.58917 | -0.43077 | -0.28508 | -0.064106 | 0.027437 | 0.18078 | 0.18781 | 0.93118 | 1.5292 | 1.6429 | 1.7196 | 1.787 | 1.6421 | 1.7347 | 1.6871 | 1.6544 | 1.6061 | 1.5021 | 1.4819
CHP net load before BESS | 0.62878 | 0.58725 | 0.5853 | 0.60884 | 0.6232 | 0.6419 | 0.62249 | 0.69773 | 0.59544 | 0.30675 | -0.29719 | -0.13766 | -0.53666 | -1.6265 | -2.1999 | -2.0139 | -1.9272 | -2.0698 | -2.1824 | -2.5018 | -2.7 | -2.6418 | -2.4526 | -2.3288 | -2.1861 | -3.0865 | -3.1463 | -2.5994 | -2.6755 | -2.8222 | -2.4223 | -2.015 | -1.7197 | -1.4691 | -1.1559 | -1.0997 | -0.47 | 0.14692 | 0.16658 | 0.35474 | 0.43837 | 0.40632 | 0.5904 | 0.57851 | 0.58371 | 0.50805 | 0.5901 | 0.52489
gas boiler net load before BESS | 1.1956 | 1.1833 | 1.191 | 1.186 | 1.2079 | 1.2287 | 1.2166 | 1.2552 | 1.2052 | 1.1743 | 1.309 | 1.3507 | 1.3524 | 1.159 | 1.1381 | 0.87847 | 0.72672 | 0.43892 | 0.16459 | -0.14195 | -0.35307 | -0.62005 | -0.80747 | -0.4199 | -0.74014 | -1.2025 | -1.283 | -1.2345 | -1.1568 | -1.0893 | -0.9909 | -0.78633 | -0.63603 | -0.50318 | -0.25949 | -0.24154 | 0.44226 | 1.0359 | 1.1501 | 1.2645 | 1.2887 | 1.2855 | 1.3059 | 1.2742 | 1.2536 | 1.2121 | 1.1856 | 1.1586
import electric power after PV+BESS
heat pump net load after BESS | 1.4885 | 1.9148 | 1.8585 | 1.8151 | 1.8244 | 1.8162 | 1.7908 | 1.8114 | 1.7906 | 1.8303 | 2.1676 | 2.1741 | 2.3563 | 1.934 | 2.1405 | 1.7575 | 1.522 | 1.1889 | 0.8522 | 0.5324 | 0.3064 | 0.0836 | 0.0032 | 0.0675 | 0.0118 | 0 | 0 | -0.0802 | 0 | -0.0464 | 0 | 0 | 0 | 0.0088 | 0.0593 | 0.0831 | 0.6694 | 1.2846 | 1.416 | 1.4958 | 1.5576 | 1.3985 | 1.4649 | 1.3802 | 1.2966 | 1.1859 | 1.5031 | 1.482
CHP net load after BESS | 0.6288 | 0.5872 | 0.5853 | 0.6088 | 0.6232 | 0.6419 | 0.6225 | 0.6977 | 0.5954 | 0.3068 | -0.2972 | -0.1377 | -0.5367 | -1.6265 | -2.1999 | -2.0139 | -1.9272 | -2.0698 | -2.1824 | -2.5018 | -2.7 | -2.6418 | -2.4526 | -2.3288 | -2.1861 | -3.0865 | -3.1463 | -2.5994 | -2.6755 | -2.8222 | -2.4223 | -2.015 | -1.7197 | -1.4691 | -1.1559 | -1.0997 | -0.47 | 0.1469 | 0.1666 | 0.3547 | 0.4384 | 0.4063 | 0.5904 | 0.5785 | 0.5837 | 0.508 | 0.5901 | 0.5249
gas boiler net load after BESS | 1.1956 | 1.6504 | 1.4662 | 1.3818 | 1.3684 | 1.3708 | 1.362 | 1.4486 | 1.4392 | 1.7618 | 2.0902 | 2.1768 | 2.3137 | 0.0209 | 0 | 0 | 0 | 0 | 0 | -0.137 | 0 | -0.3384 | -0.0004 | -0.4097 | -0.7185 | -1.1862 | -0.8997 | -0.7146 | -1.1201 | -0.042 | -0.9572 | -0.1956 | -0.2325 | -0.1904 | -0.251 | -0.1035 | 0.1625 | 0.0004 | 0.2932 | 1.2061 | 0.6319 | 1.1808 | 0.9723 | 0.8595 | 1.1096 | 0.6116 | 1.1856 | 1.1586
the impact of BESS on net load with PV and heat pump